V18.2

# UVA Center for Research in Reproduction – prices eff. 4/1/2023

| ASSAY | ### SAMPLE VOLUME |  | AVERAGE REPORTABLE RANGE | SENSITIVITY |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | SINGLET | ### DUPLICATE |  |  | B USER – (FIB SUPPORTED CENTERS) SINGLET PRICE | C USER - (EXTERNAL) SINGLET PRICE |
| 17a-OH-PROGESTERONE – HUMAN, MOUSE & RAT (ALPCO ELISA) | 35 uL | 70 uL | 0.15 – 20 ng/mL | 0.15 ng/mL | $10.45 | $14.83 |
| ## * ACTH – HUMAN (IMMULITE 2000) | 375 uL | 450 uL | 5 – 1,250 pg/mL | 5 pg/mL | $9.44 | $13.55 |
| ## AMH – HUMAN PICO (ANSH ELISA) | 60 uL | 120 uL | 12 – 1326 pg/mL | 12 pg/mL | $22.35 | $26.72 |
| ## AMH – MOUSE & RAT (ANSH ELISA) | 20 uL | 25 uL | 0.2 – 15 ng/mL | 0.2 ng/mL | $22.85 | $27.22 |
| ## ANDROSTENEDIONE – HUMAN (ALPCO ELISA) | 35 uL | 70 uL | 0.1 – 10 ng/mL | 0.1 ng/mL | $10.94 | $15.30 |
| * CORTISOL, SERUM – HUMAN (IMMULITE 2000) | 310 uL | 320 uL | 1 – 50 ug/dL | 1 ug/dL | $8.59 | $13.11 |
| * C-PEPTIDE – HUMAN (IMMULITE 2000) | 325 uL | 350 uL | 0.1 - 20 ng/mL | 0.1 ng/mL | $10.15 | $14.29 |
| * CRP - HIGH SENSITIVITY, HUMAN (IMMULITE 2000) | 305 ul | 310 ul | 0.2 - 100 mg/L | 0.2 mg/L | $11.44 | $15.57 |
| DHEA – HUMAN (ALPCO ELISA) | 30 uL | 60 uL | 0.4 – 30 ng/mL | 0.4 ng/mL | $10.60 | $14.97 |
| * DHEA-SO4 – HUMAN (IMMULITE 2000) | 305 uL | 310 uL | 15 – 1,000 ug/dL | 15 ug/dL | $10.16 | $14.28 |
| ESTRADIOL – HUMAN (MP BIOMEDICALS RIA) | 110 uL | 220 uL | 10 – 1,000 pg/mL | 10 pg/mL | $12.15 | $16.29 |
| ESTRADIOL – MOUSE & RAT SERUM, PLASMA, & TISSUE HOMOGENATE (ALPCO ELISA) | 60 uL | 120 uL | 5 – 3,200 pg/mL | 5 pg/mL | $11.10 | $15.47 |
| * FREE T4 – HUMAN (IMMULITE 2000) | 310 uL | 320 uL | 0.3 – 6.0 ng/dL | 0.3 ng/dL | $9.73 | $13.86 |
| * FSH – HUMAN (IMMULITE 2000) | 350 uL | 400 uL | 0.1 – 170 mIU/mL | 0.1 mIU/mL | $7.91 | $12.04 |
| FSH ULTRA-SENSITIVE - MOUSE & RAT (IN HOUSE PROTOCOL ELISA) | SEE ASSAY METHODS | SEE ASSAY METHODS | 0.016 - 8 ng/mL | 0.016 ng/mL | $14.67 | $18.75 |
| GLUCOSE – HUMAN, MOUSE & RAT (ANALOX) | 15 uL | 30 uL | 1 - 540 mg/dL | 1 mg/dL | $7.24 | $10.63 |
| * GROWTH HORMONE – HUMAN (IMMULITE 2000) | 325 uL | 350 uL | 0.05 – 40 ng/mL | 0.05 ng/mL | $10.01 | $14.15 |
| * HCG – HUMAN CHORIONIC GONADOTROPIN (IMMULITE 2000) | 305 uL | 310 uL | 1 – 5,000 mIU/mL | 1 mIU/mL | $7.94 | $12.07 |
| * IGF-1 – HUMAN (IMMULITE 2000) | 320 uL | 340 uL | 25 – 1,600 ng/mL | 25 ng/mL | $14.87 | $19.00 |
| INHIBIN-A – HUMAN (ANSH ELISA) | 60 uL | 120 uL | 11 - 1050 pg/mL | 11 pg/mL | $25.69 | $30.04 |
| INHIBIN-A – MOUSE & RAT (ANSH ELISA) | 60 uL | 120 uL | 6 - 670 pg/mL | 6 pg/mL | $25.69 | $30.04 |
| INHIBIN-B - HUMAN (ANSH ELISA) | 60 uL | 120 uL | 14 - 1163 pg/mL | 14 pg/mL | $23.19 | $27.55 |
| INHIBIN-B - MOUSE & RAT (ANSH ELISA) | 60 uL | 120 uL | 8 - 942 pg/mL | 8 pg/mL | $23.19 | $27.55 |
| * INSULIN – HUMAN (IMMULITE 2000) | 400 uL | 500 uL | 2 - 300 uIU/mL | 2 uIU/mL | $8.94 | $12.45 |
| KISSPEPTIN – HUMAN (BMA BIOMEDICALS ELISA) | 60 uL | 120 uL | 0.024 – 25 ng/mL | 0.024 ng/mL | $20.19 | $24.55 |
| LEPTIN – HUMAN (EMD MILLIPORE CORP. ELISA) | 30 uL | 60 uL | 0.5 - 100 ng/mL | 0.5 ng/mL | $15.69 | $20.05 |
| * LH – HUMAN (IMMULITE 2000) | 375 uL | 450 uL | 0.1 – 200 mIU/mL | 0.1 mIU/mL | $7.91 | $12.04 |
| LH ULTRA-SENSITIVE - MOUSE & RAT (IN HOUSE PROTOCOL ELISA) | SEE ASSAY METHODS SECTION | SEE ASSAY METHODS SECTION | 0.016 - 4 ng/mL | 0.016 ng/mL | $9.11 | $13.77 |
| * PROGESTERONE – HUMAN (IMMULITE 2000) | 325 uL | 350 uL | 0.1 – 40 ng/mL | 0.1 ng/mL | $8.73 | $12.86 |
| PROGESTERONE – MOUSE & RAT SERUM, PLASMA & TISSUE HOMOGENATE (IBL ELISA) | 35 uL | 70 uL | 0.15 – 40 ng/mL | 0.15 ng/mL | $10.02 | $14.38 |
| ## * PROLACTIN – HUMAN (IMMULITE 2000) | 325 uL | 350 uL | 0.5 – 150 ng/mL | 0.5 ng/mL | $8.30 | $12.73 |
| * SHBG – HUMAN (IMMULITE 2000) | 310 uL | 320 uL | 2 – 180 nmol/L | 2 nmol/L | $9.73 | $13.86 |
| *TESTOSTERONE – HUMAN (IMMULITE 2000) | 320 uL | 340 uL | 10 – 1,600 ng/dL | 10 ng/dL | $10.19 | $14.55 |
| TESTOSTERONE – MOUSE & RAT SERUM, PLASMA & TISSUE HOMOGENATE (IBL ELISA) | 35 uL | 70 uL | 10 – 1,600 ng/dL | 10 ng/dL | $9.59 | $13.95 |
| * TSH – HUMAN (IMMULITE 2000) | 375 uL | 450 uL | 0.002 - 75 uIU/mL | 0.002 uIU/mL | $8.16 | $12.25 |

*When ordering multiple Immulite assays, check with lab in regards to required minimum sample volume.